## Guide
Master key plan template
This master key plan records which key opens which door: doors in the rows, keys in the columns, a cross for every door a key opens.
Three steps
1. At the top of the “Master key plan” sheet, enter the property, locking system and date, then each door on its own row: number, door or room, location, cylinder type, length and quantity.
2. Give each key number its own column: number (e.g. GMK, MK 1, IK 0.01), description and number of keys.
3. Put an X where a key opens a door. “Keys per door” and “Doors per key” count along; a 0 marks a door that no key opens yet.
Terms
• GMK – Grand master key: opens every door in the system.
• MK – Master key: opens every door in one section, such as a building or a floor.
• SMK – Sub-master key: opens a group of doors, such as all plant rooms.
• IK – Individual key: opens its own door and, if there are any, the common entrances.
• CE – Common entrance: a door that many or all keys open, such as the main entrance. Cylinders that all open with the same key are keyed alike.
• Security card: the proof needed to reorder keys and cylinders from the supplier or manufacturer. Keep it locked away.
Security
The plan tells anyone which key opens which door. Keep the file and printouts as safe as a master key, and the security card somewhere else.
Printing
The “Master key plan” sheet prints on A4 landscape, scaled to the page width. For large systems choose A3, or use the PDF template, which you can fill in on screen or print blank.
The “Example” sheet shows a completed plan. The grey italic rows on the “Changes” sheet are examples: delete them before you start.
Formula cells are locked so they aren’t overwritten by accident. For more keys or doors, unprotect the sheet (Review → Unprotect sheet, no password) and insert columns or rows inside the table; copy the “Keys per door” formula into new rows from above.
What the plan doesn’t show
Who has a key right now is not in the plan — that belongs in a key register. If a key goes missing, you need both: the plan to see which doors are affected, and the register to know who had it last.
Key register template for Excel
Sample based on German practice. Not legal advice.
More templates: log-key.de/en/templates
A template by Log+Key (Westrath GmbH, Aachen, Germany).

## Master key plan
Doors as rows, keys as columns: put an X where the key opens the door — any character counts. Grey cells calculate themselves. A filled-in sample is on the “Example” sheet.
Property |  |  | Locking system |  |  | As of
Key no.
Description
Number of keys
Doors per key
No. | Door / room | Building / floor | Cylinder type | A/B length (mm) | Qty | Keys per door | Note

## Example
Example: an office building with two floors and plant rooms in the basement. Read a row: which keys open this door? Read a column: which doors does this key open?
Property | Office building, 1 Sample Street, Sampletown |  | Locking system | Sample system no. 4711 |  | As of | 2026-10-12
Key no. | [6 empty] | GMK | MK 1 | MK 2 | SMK 1 | IK 0.01 | IK 0.02 | IK 1.01 | IK 1.02
Description | [6 empty] | Management | Administration | Sales | Facilities | Office 0.01 | Office 0.02 | Office 1.01 | Office 1.02
Number of keys | [6 empty] | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 2
Doors per key | [6 empty] | 8 | 4 | 3 | 3 | 2 | 2 | 2 | 2
No. | Door / room | Building / floor | Cylinder type | A/B length (mm) | Qty | Keys per door | [8 empty] | Note
1 | Main entrance | Ground floor | Euro double cylinder | 30/40 | 1 | 8 | X | X | X | X | X | X | X | X | Common entrance
2 | Office 0.01 | Ground floor | Euro double cylinder | 30/30 | 1 | 3 | X | X |  |  | X
3 | Office 0.02 | Ground floor | Euro double cylinder | 30/30 | 1 | 3 | X | X |  |  |  | X
4 | Archive 0.03 | Ground floor | Euro double cylinder | 30/30 | 1 | 2 | X | X
5 | Office 1.01 | First floor | Euro double cylinder | 30/30 | 1 | 3 | X |  | X |  |  |  | X
6 | Office 1.02 | First floor | Euro double cylinder | 30/30 | 1 | 3 | X |  | X |  |  |  |  | X
7 | Boiler room | Basement | Euro double cylinder | 30/35 | 1 | 2 | X |  |  | X
8 | Plant room | Basement | Euro half cylinder | 30/10 | 1 | 2 | X |  |  | X

## Changes
One new row per change to the system: cylinder replaced, keys reordered, door added. Then update “As of” on the “Master key plan” sheet.
Date | Change | Door / key | Done by | Receipt / order no. | Note
2026-09-02 | Cylinder replaced (faulty) | Archive 0.03 | Sample Locksmiths | RE-2026-118 | Example — delete
2026-09-30 | 2 keys reordered | IK 1.01 | Sample Security Supplies | AB-4711-23 | Example — delete